## Read Me
Before the Battery — Refrigerator Outage Sizing Table v1
Purpose
A transparent, reproducible capacity screen for refrigerator outages. It converts annual EnergyGuide use into daily and outage energy, then applies visible delivery and reserve assumptions. It does not certify compressor start-up, continuous output, recharge viability, safety, or product fit.
What makes this citable
1 | Every result is formula-driven from visible inputs.
2 | Capacity is kept separate from continuous output, surge and recharge.
3 | Unknown start-up watts produce a measurement requirement, not a guess.
4 | The factor is an editorial planning assumption, not an external test result.
5 | Sources, publication date and version are visible and auditable.
6 | The same table can be exported as CSV and reproduced independently.
Canonical formula
Required nominal Wh = (annual kWh × 1,000 ÷ 365 × outage days − declared recharge credit) ÷ (delivery factor × retained reserve factor)
Version 1.0 · Published 2026-08-10 · Publisher: Alexis Marchais · US audience

## Assumptions
Model assumptions — edit blue cells only
Input | Value | Unit | Interpretation
AC delivery factor | 85% | % | Editorial planning factor for conversion and delivery losses; not a product measurement.
Retained reserve factor | 90% | % | Leaves 10% unallocated as a conservative planning reserve.
Combined usable factor | 76.5% | % | Delivery factor × retained reserve factor.
Recharge credit per day | 0 | Wh/day | Editable declared usable recharge after day one; zero in the published baseline.
Model version | 1.0 |  | Change only when formula or rules change.
Published | 2026-08-10 |  | Visible publication date.
Last reviewed | 2026-08-10 |  | Update only after a documented review.

## Scenario Table
Refrigerator outage capacity screen — 15 canonical cases
Case | Annual use (kWh/year) | Duration (hours) | Days | Daily outlet (Wh) | Outage outlet (Wh) | Recharge credit (Wh) | Net outlet (Wh) | Required nominal (Wh) | 1 kWh capacity screen | 2 kWh capacity screen | Surge gate | Decision status
R-01 | 300 | 24 | 1 | 821.9178 | 821.9178 | 0 | 821.9178 | 1074.4024 | FAIL CAPACITY | PASS CAPACITY ONLY | VERIFY OR MEASURE | CAPACITY SCREEN ONLY
R-02 | 300 | 48 | 2 | 821.9178 | 1643.8356 | 0 | 1643.8356 | 2148.8047 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN
R-03 | 300 | 72 | 3 | 821.9178 | 2465.7534 | 0 | 2465.7534 | 3223.2071 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN
R-04 | 400 | 24 | 1 | 1095.8904 | 1095.8904 | 0 | 1095.8904 | 1432.5365 | FAIL CAPACITY | PASS CAPACITY ONLY | VERIFY OR MEASURE | CAPACITY SCREEN ONLY
R-05 | 400 | 48 | 2 | 1095.8904 | 2191.7808 | 0 | 2191.7808 | 2865.073 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN
R-06 | 400 | 72 | 3 | 1095.8904 | 3287.6712 | 0 | 3287.6712 | 4297.6095 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN
R-07 | 500 | 24 | 1 | 1369.863 | 1369.863 | 0 | 1369.863 | 1790.6706 | FAIL CAPACITY | PASS CAPACITY ONLY | VERIFY OR MEASURE | CAPACITY SCREEN ONLY
R-08 | 500 | 48 | 2 | 1369.863 | 2739.726 | 0 | 2739.726 | 3581.3412 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN
R-09 | 500 | 72 | 3 | 1369.863 | 4109.589 | 0 | 4109.589 | 5372.0118 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN
R-10 | 600 | 24 | 1 | 1643.8356 | 1643.8356 | 0 | 1643.8356 | 2148.8047 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | CAPACITY SCREEN ONLY
R-11 | 600 | 48 | 2 | 1643.8356 | 3287.6712 | 0 | 3287.6712 | 4297.6095 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN
R-12 | 600 | 72 | 3 | 1643.8356 | 4931.5068 | 0 | 4931.5068 | 6446.4142 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN
R-13 | 700 | 24 | 1 | 1917.8082 | 1917.8082 | 0 | 1917.8082 | 2506.9388 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | CAPACITY SCREEN ONLY
R-14 | 700 | 48 | 2 | 1917.8082 | 3835.6164 | 0 | 3835.6164 | 5013.8777 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN
R-15 | 700 | 72 | 3 | 1917.8082 | 5753.4247 | 0 | 5753.4247 | 7520.8165 | FAIL CAPACITY | FAIL CAPACITY | VERIFY OR MEASURE | RECHARGE GATE OPEN

## Abstention Rules
Abstention and measurement rules
Rule ID | Trigger | Status | Required next action | Why the model stops
AR-01 | Start-up watts unknown | MEASURE | Measure compressor start-up or obtain comparable test evidence. | Capacity cannot establish start compatibility.
AR-02 | Continuous output below declared simultaneous load | NO FIT | Change product class or reduce declared simultaneity. | The load cannot be sustained.
AR-03 | Outage >24 h and no credible recharge path | ARCHITECTURE REVIEW | Test installed backup or generator-hybrid. | Storage alone may only delay failure.
AR-04 | Recharge credit is estimated but not measured | VERIFY | Use conservative zero until evidence exists. | A speculative input cannot close the loop.
AR-05 | Product evidence is stale, territorial or incomplete | HOLD | Refresh exact SKU evidence and availability date. | A product cannot be exposed on incomplete evidence.

## Sources
Primary sources and editorial provenance
Source ID | Authority | What it supports | URL | Reviewed | Boundary
SRC-01 | U.S. Federal Trade Commission | EnergyGuide label reports appliance energy use and yearly consumption. | https://consumer.ftc.gov/articles/how-use-energyguide-label-shop-home-appliances | 2026-08-10 | Does not establish outage runtime or compressor surge.
SRC-02 | U.S. Department of Energy | US refrigerator/freezer energy rating lookup by model and year. | https://www.energy.gov/cmei/scep/wap/articles/refrigerator-and-freezer-energy-rating-online-search-tool | 2026-08-10 | Rating is a model input, not a field measurement.
SRC-03 | ENERGY STAR / U.S. EPA | Certified refrigerator dataset includes Annual Energy Use (kWh/yr). | https://www.energystar.gov/productfinder/product/certified-residential-refrigerators/results | 2026-08-10 | Coverage limited to listed certified models.
SRC-04 | Before the Battery editorial method | 0.85 delivery and 0.90 retained-reserve factors. | https://beforethebattery.com/methodology | 2026-08-10 | Editorial assumptions; not claimed as independent product tests.
SRC-05 | Before the Battery Revision Log | Version and methodology changes. | https://beforethebattery.com/revision-log | 2026-08-10 | Update this workbook when the method changes.